### Summary of key values

The table below presents the key values for each of the examined attic spaces as well as for the indoor and outdoor climate.

|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Temperature [°C] | | | | Relative humidity [%] | | | | Moisture content [g/m²] | | | |
| Attic space | Minimum | Maximum | Average | Standard deviation | Minimum | Maximum | Average | Standard deviation | Minimum | Maximum | Average | Standard deviation |
| A1 | -0.70 | 26.16 | 10.03 | 6.35 | 51.95 | 97.95 | 81.12 | 13.23 | 4.38 | 13.13 | 7.69 | 1.99 |
| A2 | -0.38 | 26.19 | 10.06 | 6.28 | 57.91 | 99.89 | 88.73 | 11.71 | 4.64 | 16.26 | 8.50 | 2.32 |
| A3 | 0.55 | 26.17 | 10.36 | 6.03 | 54.51 | 100 | 87.35 | 13.55 | 4.99 | 13.80 | 8.41 | 1.91 |
| A4 | -0.39 | 26.25 | 10.05 | 6.30 | 57.68 | 99.73 | 90.01 | 10.87 | 4.61 | 16.42 | 8.67 | 2.51 |
| A5 | -0.30 | 26.32 | 10.07 | 6.27 | 52.62 | 99.72 | 85.45 | 13.49 | 4.62 | 13.62 | 8.10 | 1.96 |
| A6 | -0.36 | 26.52 | 10.10 | 6.31 | 58.36 | 99.99 | 90.66 | 10.59 | 4.64 | 16.38 | 8.78 | 2.59 |
| A7 | -0.26 | 26.75 | 10.17 | 6.33 | 52.58 | 99.69 | 84.23 | 13.91 | 4.64 | 13.75 | 8.02 | 1.95 |
| A8 | 0.28 | 27.04 | 10.37 | 6.27 | 51.44 | 99.99 | 86.02 | 14.66 | 4.88 | 13.72 | 8.26 | 1.86 |
| A9 | 1.08 | 27.01 | 10.64 | 6.04 | 51.90 | 100 | 87.89 | 14.16 | 5.21 | 13.81 | 8.59 | 1.88 |
| B1 | -1.21 | 25.85 | 9.95 | 6.25 | 50.86 | 92.93 | 79.11 | 11.04 | 3.85 | 12.83 | 7.56 | 2.20 |
| B2 | -1.19 | 25.84 | 9.87 | 6.23 | 50.97 | 98.30 | 82.25 | 12.27 | 4.07 | 12.94 | 7.77 | 2.11 |
| B3 | -1.14 | 25.69 | 9.86 | 6.19 | 48.55 | 95.94 | 80.76 | 11.73 | 3.95 | 12.70 | 7.65 | 2.16 |
| B4 | -1.13 | 25.65 | 9.83 | 6.18 | 51.14 | 98.21 | 81.89 | 11.71 | 4.00 | 13.05 | 7.74 | 2.17 |
| B5 | -0.52 | 25.53 | 10.11 | 5.96 | 52.59 | 100 | 86.61 | 12.94 | 4.54 | 13.22 | 8.24 | 1.96 |
| B6 | -0.71 | 25.34 | 9.95 | 5.99 | 50.31 | 99.85 | 84.09 | 12.34 | 4.33 | 12.97 | 7.96 | 2.05 |
| B7 | -0.44 | 26.08 | 10.06 | 5.88 | 50.45 | 98.44 | 82.20 | 11.39 | 4.28 | 13.05 | 7.86 | 2.06 |
| B8 | -0.36 | 25.64 | 10.04 | 5.88 | 56.28 | 100 | 89.09 | 12.25 | 4.65 | 13.62 | 8.46 | 1.98 |
| B9 | -1.16 | 25.80 | 9.78 | 6.16 | 59.88 | 99.62 | 90.63 | 9.28 | 4.31 | 17.10 | 8.64 | 2.62 |
| Indoor A | 18.01 | 27.46 | 19.46 | 1.47 | 50.46 | 64.43 | 54.67 | 2.94 | 8.02 | 13.53 | 9.18 | 1.10 |
| Indoor B | 15.33 | 26.84 | 18.89 | 1.51 | 58.40 | 75.14 | 65.14 | 3.03 | 8.65 | 15.21 | 10.56 | 1.01 |
| Outdoor | -1.40 | 25.28 | 9.86 | 6.23 | 46.11 | 93.62 | 79.47 | 9.22 | 3.71 | 13.40 | 7.66 | 2.49 |

Table 1 Summary of key values